## Sheet1
Tasks | Date | Permit | Permit | Permit
Policy Review
Review Policy # |  | N/A | N/A | N/A
Review Policy # |  | N/A | N/A | N/A
Review Policy # |  | N/A | N/A | N/A
Review City Ordinance |  | N/A | N/A | N/A
Codes and Standards
NFPA on-line login |  | N/A | N/A | N/A
FFPC current edition |  | N/A | N/A | N/A
Copy of Broward County Amendments, Florida Statutes, and Florida Administrative Codes |  | N/A | N/A | N/A
Review use of ICC, UL, ASME |  | N/A | N/A | N/A
Plan Review Procedures
Review Plan Review Tracker |  | N/A | N/A | N/A
Review Site Plan Tracker |  | N/A | N/A | N/A
E-Plan login |  | N/A | N/A | N/A
Billing Procedure |  | N/A | N/A | N/A
Review Occupancy Types and Definitions |  | N/A | N/A | N/A
Review Occupant Load Calculations |  | N/A | N/A | N/A
Review Egress Capacity Requirements |  | N/A | N/A | N/A
Maximum Allowable Quantities |  | N/A | N/A | N/A
Needed Fire Flows |  | N/A | N/A | N/A
Review Smoke Control Systems |  | N/A | N/A | N/A
Review Performance Based Designs |  | N/A | N/A | N/A
Site Plan Reviews
Site Plans (x10)
Review Bi-Directional Amplifier |  | N/A | N/A | N/A
Tasks | Date | Permit | Permit | Permit
Review Fire Sprinkler Trade-off's for Single Family Homes |  | N/A | N/A | N/A
Fire Alarm Plan Reviews
New Fire Alarm Installation (x3)
Existing Fire Alarm Installation (x3)
Radio/Cellular Dialer (x3)
Review 61G15-32 - Alarms |  | N/A | N/A | N/A
Fire Sprinkler Plan Reviews
New Fire Sprinkler Installation (x3)
Existing Fire Sprinkler Installation (x3)
Hydraulic Calculations (x3)
Standpipes (x2)
Fire Pumps (x2)
Review Owner's Certificate |  | N/A | N/A | N/A
Review 61G15-32 - Sprinklers |  | N/A | N/A | N/A
Review NFPA 13, 13R, 13D Differences |  | N/A | N/A | N/A
Photovoltaic (PV-Solar) Plan Reviews
Photovoltaic (PV-Solar) Systems (x3)
Commercial Hood Plan Reviews
Commercial Hood Systems (x3)
Seal and Restripe Plan Reviews
Seal and Restripe (x3)
Generator Plan Reviews
Generator (x3)
Clean Agent Plan Reviews
Clean Agents (x3)
Assembly Occupancy Plan Reviews
Assembly Occupancy (x3)
Tasks | Date | Permit | Permit | Permit
Educational Occupany Plan Reviews
Educational Occupancy (x3)
Day Care Occupancy Plan Reviews
Day Care Occupancy (x3)
Healthcare Occupancy Plan Reviews
Healthcare Occupancy (x3)
Ambulatory Healthcare Occupancy Plan Reviews
Ambulatory Healthcare Occupancy (x2)
Lodging and Rooming Occupancy Plan Reviews
Lodging and Rooming Occupancy (x2)
Hotel Occupancy Plan Reviews
Hotel Occupancy (x3)
Apartment Building Plan Reviews
Apartment Building Occupancy (x3)
Review High-rise Retrofit
Board and Care Occupancy Plan Reviews
Board and Care Occupancy (x3)
Mercantile Occupancy Plan Reviews
Mercantile Occupancy (x3)
Business Occupancy Plan Reviews
Business Occupancy (x3)
Industrial Occupancy Plan Reviews
Industrial Occupancy (x3)
Storage Occupancy Plan Reviews
Storage Occupancy (x3)
Approvals | Signature |  |  | Date
Immediate Supervisor
Fire Marshal
Fire Chief